# AI Design Engineer - Summary

Timestamp: 2025-10-08 15:24

## What was requested (my understanding)

{
  "task": "panel_schedule",
  "project": "Demo Project",
  "service_voltage": "480Y/277V",
  "service_amperes": 2000,
  "panels": [
    {
      "name": "MDS",
      "voltage": "480Y/277V",
      "bus_amperes": 1200
    }
  ],
  "loads": [
    {
      "name": "CHWP-1",
      "kva": 50,
      "panel": "MDS"
    }
  ],
  "notes": "Keyword-based fallback (detected: panel_schedule). Configure OPENAI_API_KEY for better parsing."
}

## What was done & why

Generated draft design artifacts based on your instructions and project standards. Outputs are provided in the ZIP. Rationale: match scope to request, adhere to configured layers/symbols, and provide deterministic CAD structure for downstream PE review.

## Ethical considerations

This draft was produced by an AI-assisted workflow. It should be reviewed by a licensed Professional Engineer before use in construction. The intent is to improve efficiency while maintaining public safety and code compliance. All generative steps are logged via inputs/plan to preserve auditability.

## PE review checklist

- Confirm service size, feeder/breaker coordination, and fault current assumptions.
- Verify equipment ratings and selective coordination where required.
- Validate conductor sizes, voltage drop and grounding/bonding details.
- Confirm device locations against architectural constraints and egress.
- Stamp only after verifying that calculations, notes, and details meet local/state amendments.

## Relevant NEC sections (non-exhaustive)

Articles commonly implicated by power plans and one-lines may include: 90 (Introduction & Enforcement), 100 (Definitions), 110 (Requirements for Electrical Installations), 200 (Use and Identification of Grounded Conductors), 210 (Branch Circuits), 215 (Feeders), 220 (Branch-Circuit, Feeder, and Service Calculations), 225 (Outside Branch Circuits and Feeders), 230 (Services), 240 (Overcurrent Protection), 250 (Grounding and Bonding), 300 (Wiring Methods), 310 (Conductors), 408 (Switchboards, Switchgear, Panelboards), 450 (Transformers), 700/701/702 (Emergency/Legally Required/Optional Standby), 760 (Fire Alarm), 800+ (Communications) as applicable.